## TABEL
tb_parameter_sungaisitu
id_parameter
parameter
jenis
id_parameter | parameter | jenis
| Temperature | FISIKA
| TDS* | FISIKA
| TSS* | FISIKA
| Debit | FISIKA
| pH* | KIMIA
| BOD | KIMIA
| COD | KIMIA
| DO | KIMIA
| Total Phosphate (PO₄₋) | KIMIA
| Nitrate (NO₃) | KIMIA
| Arsenic (As) | KIMIA
| Cobalt (Co) | KIMIA
| Boron (B) | KIMIA
| Selenium (Se) | KIMIA
| Cadmium (Cd) | KIMIA
| Cr⁶⁺ | KIMIA
| Tembaga terlarut** | KIMIA
| Lead (Pb) | KIMIA
| Mercury (Hg) | KIMIA
| Zinc (Zn) | KIMIA
| Cyanide (CN) | KIMIA
| Fouride (F) | KIMIA
| Nitrite (NO₂) | KIMIA
| Free Chlorine (Cl₂) | KIMIA
| Sulfide (H₂S) | KIMIA
| Ammonia | KIMIA
| Chloride (Cl') | KIMIA
| Iron (Fe) | KIMIA
| Manganese (Mn) | KIMIA
| Barium (Ba) | KIMIA
| Copper (Cu) | KIMIA
| Sulfat | KIMIA
| Fecal Coliform | MIKROBIOLOGI
| Total Coliform | MIKROBIOLOGI
| Oil & Fat | KIMIA ORGANIK
| Detergent (MBAS) | KIMIA ORGANIK
| Phenol | KIMIA ORGANIK

## AnalisaParameter
2014 |  |  | 2014 |  | 2014 |  | 2014 |  | 2013 |  |  | 2013 |  |  | 2013 |  |  | 2013 |  |  | 2013 |  |  | 2013 |  |  | 2013 |  |  | 2013 |  |  | 2012 |  |  | 2012 |  |  | 2012 |  |  | 2012 |  |  | 2011 |  |  | 2011 |  |  | 2011 |  |  | 2011 |  |  | 2010 |  |  | 2010 |  |  | 2010 |  |  | 2010
1 |  |  | 1 |  | 2 |  | 2 |  | 1 |  |  | 1 |  |  | 2 |  |  | 2 |  |  | 1 |  |  | 1 |  |  | 2 |  |  | 2 |  |  | 1 |  |  | 1 |  |  | 2 |  |  | 2 |  |  | 1 |  |  | 1 |  |  | 2 |  |  | 2 |  |  | 1 |  |  | 1 |  |  | 2 |  |  | 2
FISIKA | [8 empty] | FISIKA | [35 empty] | FISIKA
Temperatur** | (-) | C | (-) | C | (-) | C | (-) | C | Temperature | ⁺3 | C | Temperature | ⁺3 | C | Temperature | ⁺3 | C | Temperature | ⁺3 | C | Temperature | ⁺3 | C | Temperature | ⁺3 | C | Temperature | ⁺3 | C | Temperature | ⁺3 | C | Temperatur | (-) | C | Temperatur | (-) | C | Temperatur | (-) | C | Temperatur | (-) | C | Temperatur | (-) | C | Temperatur | (-) | C | Temperatur | (-) | C | Temperatur | (-) | C | Temperatur | (-) | C | Temperatur | (-) | C | Temperatur | (-) | C | Temperatur | (-) | C
Residu Terlarut** | 1000 | mg/L | 1000 | mg/L | 1000 | mg/L | 1000 | mg/L | TDS* | 1000 | mg/L | TDS* | 1000 | mg/L | TDS* | 1000 | mg/L | TDS* | 1000 | mg/L | TDS* | 1000 | mg/L | TDS* | 1000 | mg/L | TDS* | 1000 | mg/L | TDS* | 1000 | mg/L | Residu Terlarut | 1000 | mg/L | Residu Terlarut | 1000 | mg/L | Residu Terlarut | 1000 | mg/L | Residu Terlarut | 1000 | mg/L | Residu Terlarut | 1000 | mg/L | Residu Terlarut | 1000 | mg/L | Residu Terlarut | 1000 | mg/L | Residu Terlarut | 1000 | mg/L | Residu Terlarut | 1000 | mg/L | Residu Terlarut | 1000 | mg/L | Residu Terlarut | 1000 | mg/L | Residu Terlarut | 1000 | mg/L
Residu Tersuspensi** | 50 | mg/L | 50 | mg/L | 50 | mg/L | 50 | mg/L | TSS* | 50 | mg/L | TSS* | 50 | mg/L | TSS* | 50 | mg/L | TSS* | 50 | mg/L | TSS* | 50 | mg/L | TSS* | 50 | mg/L | TSS* | 50 | mg/L | TSS* | 50 | mg/L | Residu Tersuspensi | 50 | mg/L | Residu Tersuspensi | 50 | mg/L | Residu Tersuspensi | 50 | mg/L | Residu Tersuspensi | 50 | mg/L | Residu Tersuspensi | 50 | mg/L | Residu Tersuspensi | 50 | mg/L | Residu Tersuspensi | 50 | mg/L | Residu Tersuspensi | 50 | mg/L | Residu Tersuspensi | 50 | mg/L | Residu Tersuspensi | 50 | mg/L | Residu Tersuspensi | 50 | mg/L | Residu Tersuspensi | 50 | mg/L
Debit | - | m³/det | - | m³/det | - | m³/det | - | m³/det | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk | Nitrite (NO₂) | 0.06 | mg/L | Nitrite (NO₂) | 0.06 | mg/L | Nitrite (NO₂) | 0.06 | mg/L | Nitrite (NO₂) | 0.06 | mg/L | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk | Debit | - | m3/dtk
KIMIA | [8 empty] | KIMIA | [11 empty] | pH* | 6‐9 | mg/L | pH* | 6‐9 | mg/L | pH* | 6‐9 | mg/L | pH* | 6‐9 | mg/L | KIMIA | [11 empty] | KIMIA
pH** | 6 s/d 9 | - | 6 s/d 9 | - | 6 s/d 9 | - | 6 s/d 9 | - | pH* | 6‐9 | mg/L | pH* | 6‐9 | mg/L | pH* | 6‐9 | mg/L | pH* | 6‐9 | mg/L | Oil & Fat | 1000 | mg/L | Oil & Fat | 1000 | mg/L | Oil & Fat | 1000 | mg/L | Oil & Fat | 1000 | mg/L | pH | 6 s/d 9 | mg/L | pH | 6 s/d 9 | mg/L | pH | 6 s/d 9 | mg/L | pH | 6 s/d 9 | mg/L | pH | 6 s/d 9 | mg/L | pH | 6 s/d 9 | mg/L | pH | 6 s/d 9 | mg/L | pH | 6 s/d 9 | mg/L | pH | 6 s/d 9 | mg/L | pH | 6 s/d 9 | mg/L | pH | 6 s/d 9 | mg/L | pH | 6 s/d 9 | mg/L
BOD ( 5 hari 20⁰ C) | 3 | mg/L | 3 | mg/L | 3 | mg/L | 3 | mg/L | BOD | 2 | mg/L | BOD | 2 | mg/L | BOD | 2 | mg/L | BOD | 2 | mg/L | Detergent (MBAS) | 200 | mg/L | Detergent (MBAS) | 200 | mg/L | Detergent (MBAS) | 200 | mg/L | Detergent (MBAS) | 200 | mg/L | BOD | 3 | mg/L | BOD | 3 | mg/L | BOD | 3 | mg/L | BOD | 3 | mg/L | BOD | 3 | mg/L | BOD | 3 | mg/L | BOD | 3 | mg/L | BOD | 3 | mg/L | BOD | 3 | mg/L | BOD | 3 | mg/L | BOD | 3 | mg/L | BOD | 3 | mg/L
COD** | 25 | mg/L | 25 | mg/L | 25 | mg/L | 25 | mg/L | COD | 10 | mg/L | COD | 10 | mg/L | COD | 10 | mg/L | COD | 10 | mg/L | BOD | 2 | mg/L | BOD | 2 | mg/L | BOD | 2 | mg/L | BOD | 2 | mg/L | COD | 25 | mg/L | COD | 25 | mg/L | COD | 25 | mg/L | COD | 25 | mg/L | COD | 25 | mg/L | COD | 25 | mg/L | COD | 25 | mg/L | COD | 25 | mg/L | COD | 25 | mg/L | COD | 25 | mg/L | COD | 25 | mg/L | COD | 25 | mg/L
DO | 4 | mg/L | 4 | mg/L | 4 | mg/L | 4 | mg/L | DO | 6 | mg/L | DO | 6 | mg/L | DO | 6 | mg/L | DO | 6 | mg/L | COD | 10 | mg/L | COD | 10 | mg/L | COD | 10 | mg/L | COD | 10 | mg/L | DO | 4 | mg/L | DO | 4 | mg/L | DO | 4 | mg/L | DO | 4 | mg/L | DO | 4 | mg/L | DO | 4 | mg/L | DO | 4 | mg/L | DO | 4 | mg/L | DO | 4 | mg/L | DO | 4 | mg/L | DO | 4 | mg/L | DO | 4 | mg/L
Total Fosfat sebagai P** | 0.2 | mg/L | 0.2 | mg/L | 0.2 | mg/L | 0.2 | mg/L | Total Phosphate (PO₄₋) | 0.2 | mg/L | Total Phosphate (PO₄₋) | 0.2 | mg/L | Total Phosphate (PO₄₋) | 0.2 | mg/L | Total Phosphate (PO₄₋) | 0.2 | mg/L | Ammonia | 0.5 | mg/L | Ammonia | 0.5 | mg/L | Ammonia | 0.5 | mg/L | Ammonia | 0.5 | mg/L | Total Fosfat | 0.2 | mg/L | Total Fosfat | 0.2 | mg/L | Total Fosfat | 0.2 | mg/L | Total Fosfat | 0.2 | mg/L | Total Fosfat | 0.2 | mg/L | Total Fosfat | 0.2 | mg/L | Total Fosfat | 0.2 | mg/L | Total Fosfat | 0.2 | mg/L | Total Fosfat | 0.2 | mg/L | Total Fosfat | 0.2 | mg/L | Total Fosfat | 0.2 | mg/L | Total Fosfat | 0.2 | mg/L
Nitrat (NO3-N)** | 10 | mg/L | 10 | mg/L | 10 | mg/L | 10 | mg/L | Nitrate (NO₃) | 10 | mg/L | Nitrate (NO₃) | 10 | mg/L | Nitrate (NO₃) | 10 | mg/L | Nitrate (NO₃) | 10 | mg/L | Fouride (F) | 0.5 | mg/L | Fouride (F) | 0.5 | mg/L | Fouride (F) | 0.5 | mg/L | Fouride (F) | 0.5 | mg/L | Nitrat | 10 | mg/L | Nitrat | 10 | mg/L | Nitrat | 10 | mg/L | Nitrat | 10 | mg/L | Nitrat | 10 | mg/L | Nitrat | 10 | mg/L | Nitrat | 10 | mg/L | Nitrat | 10 | mg/L | Nitrat | 10 | mg/L | Nitrat | 10 | mg/L | Nitrat | 10 | mg/L | Nitrat | 10 | mg/L
Arsen | 1 | mg/L | 1 | mg/L | 1 | mg/L | 1 | mg/L | Arsenic (As) | 1 | mg/L | Arsenic (As) | 1 | mg/L | Arsenic (As) | 1 | mg/L | Arsenic (As) | 1 | mg/L | Chloride (Cl') | 1 | mg/L | Chloride (Cl') | 1 | mg/L | Chloride (Cl') | 1 | mg/L | Chloride (Cl') | 1 | mg/L | Arsen | 1 | mg/L | Arsen | 1 | mg/L | Arsen | 1 | mg/L | Arsen | 1 | mg/L | Arsen | 1 | mg/L | Arsen | 1 | mg/L | Arsen | 1 | mg/L | Arsen | 1 | mg/L | Arsen | 1 | mg/L | Arsen | 1 | mg/L | Arsen | 1 | mg/L | Arsen | 1 | mg/L
Kobal terlarut** | 0.2 | mg/L | 0.2 | mg/L | 0.2 | mg/L | 0.2 | mg/L | Cobalt (Co) | 0.2 | mg/L | Cobalt (Co) | 0.2 | mg/L | Cobalt (Co) | 0.2 | mg/L | Cobalt (Co) | 0.2 | mg/L | Arsenic (As) | 1 | mg/L | Arsenic (As) | 1 | mg/L | Arsenic (As) | 1 | mg/L | Arsenic (As) | 1 | mg/L | Kobalt | 0.2 | mg/L | Kobalt | 0.2 | mg/L | Kobalt | 0.2 | mg/L | Kobalt | 0.2 | mg/L | Kobalt | 0.2 | mg/L | Kobalt | 0.2 | mg/L | Kobalt | 0.2 | mg/L | Kobalt | 0.2 | mg/L | Kobalt | 0.2 | mg/L | Kobalt | 0.2 | mg/L | Kobalt | 0.2 | mg/L | Kobalt | 0.2 | mg/L
Boron | 1 | mg/L | 1 | mg/L | 1 | mg/L | 1 | mg/L | Boron (B) | 1 | mg/L | Boron (B) | 1 | mg/L | Boron (B) | 1 | mg/L | Boron (B) | 1 | mg/L | Barium (Ba) | 1 | mg/L | Barium (Ba) | 1 | mg/L | Barium (Ba) | 1 | mg/L | Barium (Ba) | 1 | mg/L | Boron | 1 | mg/L | Boron | 1 | mg/L | Boron | 1 | mg/L | Boron | 1 | mg/L | Boron | 1 | mg/L | Boron | 1 | mg/L | Boron | 1 | mg/L | Boron | 1 | mg/L | Boron | 1 | mg/L | Boron | 1 | mg/L | Boron | 1 | mg/L | Boron | 1 | mg/L
Selenium | 0.05 | mg/L | 0.05 | mg/L | 0.05 | mg/L | 0.05 | mg/L | Selenium (Se) | 0.01 | mg/L | Selenium (Se) | 0.01 | mg/L | Selenium (Se) | 0.01 | mg/L | Selenium (Se) | 0.01 | mg/L | Boron (B) | 1 | mg/L | Boron (B) | 1 | mg/L | Boron (B) | 1 | mg/L | Boron (B) | 1 | mg/L | Selenium | 0.05 | mg/L | Selenium | 0.05 | mg/L | Selenium | 0.05 | mg/L | Selenium | 0.05 | mg/L | Selenium | 0.05 | mg/L | Selenium | 0.05 | mg/L | Selenium | 0.05 | mg/L | Selenium | 0.05 | mg/L | Selenium | 0.05 | mg/L | Selenium | 0.05 | mg/L | Selenium | 0.05 | mg/L | Selenium | 0.05 | mg/L
Kadmium terlarut** | 0.01 | mg/L | 0.01 | mg/L | 0.01 | mg/L | 0.01 | mg/L | Cadmium (Cd) | 0.01 | mg/L | Cadmium (Cd) | 0.01 | mg/L | Cadmium (Cd) | 0.01 | mg/L | Cadmium (Cd) | 0.01 | mg/L | Cadmium (Cd) | 0.01 | mg/L | Cadmium (Cd) | 0.01 | mg/L | Cadmium (Cd) | 0.01 | mg/L | Cadmium (Cd) | 0.01 | mg/L | Kadmium | 0.01 | mg/L | Kadmium | 0.01 | mg/L | Kadmium | 0.01 | mg/L | Kadmium | 0.01 | mg/L | Kadmium | 0.01 | mg/L | Kadmium | 0.01 | mg/L | Kadmium | 0.01 | mg/L | Kadmium | 0.01 | mg/L | Kadmium | 0.02 | mg/L | Kadmium | 0.02 | mg/L | Kadmium | 0.02 | mg/L | Kadmium | 0.02 | mg/L
Khorom (VI)** | 0.05 | mg/L | 0.05 | mg/L | 0.05 | mg/L | 0.05 | mg/L | Cr⁶⁺ | 0.05 | mg/L | Cr⁶⁺ | 0.05 | mg/L | Cr⁶⁺ | 0.05 | mg/L | Cr⁶⁺ | 0.05 |  | Cobalt (Co) | 0.2 | mg/L | Cobalt (Co) | 0.2 | mg/L | Cobalt (Co) | 0.2 | mg/L | Cobalt (Co) | 0.2 | mg/L | Krom VI | 0.05 | mg/L | Krom VI | 0.05 | mg/L | Krom VI | 0.05 | mg/L | Krom VI | 0.05 | mg/L | Krom VI | 0.05 | mg/L | Krom VI | 0.05 | mg/L | Krom VI | 0.05 | mg/L | Krom VI | 0.05 | mg/L | Krom VI | - | mg/L | Krom VI | - | mg/L | Krom VI | - | mg/L | Krom VI | - | mg/L
Tembaga terlarut** | 0.02 | mg/L | 0.02 | mg/L | 0.02 | mg/L | 0.02 | mg/L | [12 empty] | Cr⁶⁺ | 0.05 | mg/L | Cr⁶⁺ | 0.05 | mg/L | Cr⁶⁺ | 0.05 | mg/L | Cr⁶⁺ | 0.05 | mg/L | Tembaga | 0.02 | mg/L | Tembaga | 0.02 | mg/L | Tembaga | 0.02 | mg/L | Tembaga | 0.02 | mg/L | Tembaga | 0.02 | mg/L | Tembaga | 0.02 | mg/L | Tembaga | 0.02 | mg/L | Tembaga | 0.02 | mg/L | Tembaga | 0.03 | mg/L | Tembaga | 0.03 | mg/L | Tembaga | 0.03 | mg/L | Tembaga | 0.03 | mg/L
Timbal Terlarut** | 0.03 | mg/L | 0.03 | mg/L | 0.03 | mg/L | 0.03 | mg/L | Lead (Pb) | 0.03 | mg/L | Lead (Pb) | 0.03 | mg/L | Lead (Pb) | 0.03 | mg/L | Lead (Pb) | 0.03 | mg/L | Copper (Cu) | 0.02 | mg/L | Copper (Cu) | 0.02 | mg/L | Copper (Cu) | 0.02 | mg/L | Copper (Cu) | 0.02 | mg/L | Timbal | 0.03 | mg/L | Timbal | 0.03 | mg/L | Timbal | 0.03 | mg/L | Timbal | 0.03 | mg/L | Timbal | 0.03 | mg/L | Timbal | 0.03 | mg/L | Timbal | 0.03 | mg/L | Timbal | 0.03 | mg/L | Timbal | 0.002 | mg/L | Timbal | 0.002 | mg/L | Timbal | 0.002 | mg/L | Timbal | 0.002 | mg/L
Air Raksa | 0.002 | mg/L | 0.002 | mg/L | 0.002 | mg/L | 0.002 | mg/L | Mercury (Hg) | 0.001 | mg/L | Mercury (Hg) | 0.001 | mg/L | Mercury (Hg) | 0.001 | mg/L | Mercury (Hg) | 0.001 | mg/L | Iron (Fe) | 0.3 | mg/L | Iron (Fe) | 0.3 | mg/L | Iron (Fe) | 0.3 | mg/L | Iron (Fe) | 0.3 | mg/L | Air Raksa | 0.002 | mg/L | Air Raksa | 0.002 | mg/L | Air Raksa | 0.002 | mg/L | Air Raksa | 0.002 | mg/L | Air Raksa | 0.002 | mg/L | Air Raksa | 0.002 | mg/L | Air Raksa | 0.002 | mg/L | Air Raksa | 0.002 | mg/L | Air Raksa | - | mg/L | Air Raksa | - | mg/L | Air Raksa | - | mg/L | Air Raksa | - | mg/L
Seng terlarut** | 0.05 | mg/L | 0.05 | mg/L | 0.05 | mg/L | 0.05 | mg/L | Zinc (Zn) | 0.05 | mg/L | Zinc (Zn) | 0.05 | mg/L | Zinc (Zn) | 0.05 | mg/L | Zinc (Zn) | 0.05 | mg/L | Mercury (Hg) | 0.001 | mg/L | Mercury (Hg) | 0.001 | mg/L | Mercury (Hg) | 0.001 | mg/L | Mercury (Hg) | 0.001 | mg/L | Seng | 0.05 | mg/L | Seng | 0.05 | mg/L | Seng | 0.05 | mg/L | Seng | 0.05 | mg/L | Seng | 0.05 | mg/L | Seng | 0.05 | mg/L | Seng | 0.05 | mg/L | Seng | 0.05 | mg/L | Seng | 0.03 | mg/L | Seng | 0.03 | mg/L | Seng | 0.03 | mg/L | Seng | 0.03 | mg/L
Sianida | 0.02 | mg/L | 0.02 | mg/L | 0.02 | mg/L | 0.02 | mg/L | Cyanide (CN) | 0.02 | mg/L | Cyanide (CN) | 0.02 | mg/L | Cyanide (CN) | 0.02 | mg/L | Cyanide (CN) | 0.02 | mg/L | Manganese (Mn) | 1 | mg/L | Manganese (Mn) | 1 | mg/L | Manganese (Mn) | 1 | mg/L | Manganese (Mn) | 1 | mg/L | Sianida | 0.02 | mg/L | Sianida | 0.02 | mg/L | Sianida | 0.02 | mg/L | Sianida | 0.02 | mg/L | Sianida | 0.02 | mg/L | Sianida | 0.02 | mg/L | Sianida | 0.02 | mg/L | Sianida | 0.02 | mg/L | Sianida | 1000 | mg/L | Sianida | 1000 | mg/L | Sianida | 1000 | mg/L | Sianida | 1000 | mg/L
Fluorida terlarut** | 1.5 | mg/L | 1.5 | mg/L | 1.5 | mg/L | 1.5 | mg/L | Fouride (F) | 0.5 | mg/L | Fouride (F) | 0.5 | mg/L | Fouride (F) | 0.5 | mg/L | Fouride (F) | 0.5 | mg/L | Lead (Pb) | 0.03 | mg/L | Lead (Pb) | 0.03 | mg/L | Lead (Pb) | 0.03 | mg/L | Lead (Pb) | 0.03 | mg/L | Fluorida | 1.5 | mg/L | Fluorida | 1.5 | mg/L | Fluorida | 1.5 | mg/L | Fluorida | 1.5 | mg/L | Fluorida | 1.5 | mg/L | Fluorida | 1.5 | mg/L | Fluorida | 1.5 | mg/L | Fluorida | 1.5 | mg/L | Fluorida | 5000 | mg/L | Fluorida | 5000 | mg/L | Fluorida | 5000 | mg/L | Fluorida | 5000 | mg/L
Nitrit sebagai N** | 0.06 | mg/L | 0.06 | mg/L | 0.06 | mg/L | 0.06 | mg/L | Nitrite (NO₂) | 0.06 | mg/L | Nitrite (NO₂) | 0.06 | mg/L | Nitrite (NO₂) | 0.06 | mg/L | Nitrite (NO₂) | 0.06 | mg/L | Selenium (Se) | 0.01 | mg/L | Selenium (Se) | 0.01 | mg/L | Selenium (Se) | 0.01 | mg/L | Selenium (Se) | 0.01 | mg/L | Nitrit | 0.05 | mg/L | Nitrit | 0.05 | mg/L | Nitrit | 0.05 | mg/L | Nitrit | 0.05 | mg/L | Nitrit | 0.05 | mg/L | Nitrit | 0.05 | mg/L | Nitrit | 0.05 | mg/L | Nitrit | 0.05 | mg/L | Nitrit | 1 | mg/L | Nitrit | 1 | mg/L | Nitrit | 1 | mg/L | Nitrit | 1 | mg/L
Khlorin Bebas | 0.03 | mg/L | 0.03 | mg/L | 0.03 | mg/L | 0.03 | mg/L | Free Chlorine (Cl₂) | 0.03 | mg/L | Free Chlorine (Cl₂) | 0.03 | mg/L | Free Chlorine (Cl₂) | 0.03 | mg/L | Free Chlorine (Cl₂) | 0.03 | mg/L | Zinc (Zn) | 0.05 | mg/L | Zinc (Zn) | 0.05 | mg/L | Zinc (Zn) | 0.05 | mg/L | Zinc (Zn) | 0.05 | mg/L | Klorin Bebas | 0.03 | mg/L | Klorin Bebas | 0.03 | mg/L | Klorin Bebas | 0.03 | mg/L | Klorin Bebas | 0.03 | mg/L | Klorin Bebas | 0.03 | mg/L | Klorin Bebas | 0.03 | mg/L | Klorin Bebas | 0.03 | mg/L | Klorin Bebas | 0.03 | mg/L | Klorin Bebas | 0.001 | mg/L | Klorin Bebas | 0.001 | mg/L | Klorin Bebas | 0.001 | mg/L | Klorin Bebas | 0.001 | mg/L
Belerang sebagai H₂S | 0.002 | mg/L | 0.002 | mg/L | 0.002 | mg/L | 0.002 | mg/L | Sulfide (H₂S) | 0.002 | mg/L | Sulfide (H₂S) | 0.002 | mg/L | Sulfide (H₂S) | 0.002 | mg/L | Sulfide (H₂S) | 0.002 | mg/L | Cyanide (CN) | 0.02 | mg/L | Cyanide (CN) | 0.02 | mg/L | Cyanide (CN) | 0.02 | mg/L | Cyanide (CN) | 0.02 | mg/L | Sulfida | 0.002 | mg/L | Sulfida | 0.002 | mg/L | Sulfida | 0.002 | mg/L | Sulfida | 0.002 | mg/L | Sulfida | 0.002 | mg/L | Sulfida | 0.002 | mg/L | Sulfida | 0.002 | mg/L | Sulfida | 0.002 | mg/L | Sulfida | - | mg/L | Sulfida | - | mg/L | Sulfida | - | mg/L | Sulfida | - | mg/L
[9 empty] | Ammonia | 0.5 | mg/L | Ammonia | 0.5 | mg/L | Ammonia | 0.5 | mg/L | Ammonia | 0.5 | mg/L | [12 empty] | Amonia Total | - | mg/L | Amonia Total | - | mg/L | Amonia Total | - | mg/L | Amonia Total | - | mg/L | Amonia Total | - | mg/L | Amonia Total | - | mg/L | Amonia Total | - | mg/L | Amonia Total | - | mg/L | Amonia Total | - | mg/L | Amonia Total | - | mg/L | Amonia Total | - | mg/L | Amonia Total | - | mg/L
[9 empty] | Chloride (Cl') | 1 | mg/L | Chloride (Cl') | 1 | mg/L | Chloride (Cl') | 1 | mg/L | Chloride (Cl') | 1 | mg/L | [12 empty] | Klorida | - | mg/L | Klorida | - | mg/L | Klorida | - | mg/L | Klorida | - | mg/L | Klorida | - | mg/L | Klorida | - | mg/L | Klorida | - | mg/L | Klorida | - | mg/L | Klorida | 0.002 | mg/L | Klorida | 0.002 | mg/L | Klorida | 0.002 | mg/L | Klorida | 0.002 | mg/L
[9 empty] | Iron (Fe) | 0.3 | mg/L | Iron (Fe) | 0.3 | mg/L | Iron (Fe) | 0.3 | mg/L | Iron (Fe) | 0.3 | mg/L | [12 empty] | Besi | - | mg/L | Besi | - | mg/L | Besi | - | mg/L | Besi | - | mg/L | Besi | - | mg/L | Besi | - | mg/L | Besi | - | mg/L | Besi | - | mg/L | Besi | - | mg/L | Besi | - | mg/L | Besi | - | mg/L | Besi | - | mg/L
[9 empty] | Manganese (Mn) | 1 | mg/L | Manganese (Mn) | 1 | mg/L | Manganese (Mn) | 1 | mg/L | Manganese (Mn) | 1 | mg/L | [12 empty] | Mangan | - | mg/L | Mangan | - | mg/L | Mangan | - | mg/L | Mangan | - | mg/L | Mangan | - | mg/L | Mangan | - | mg/L | Mangan | - | mg/L | Mangan | - | mg/L | Mangan | 0.05 | mg/L | Mangan | 0.05 | mg/L | Mangan | 0.05 | mg/L | Mangan | 0.05 | mg/L
[9 empty] | Barium (Ba) | 1 | mg/L | Barium (Ba) | 1 | mg/L | Barium (Ba) | 1 | mg/L | Barium (Ba) | 1 | mg/L
[9 empty] | Copper (Cu) | 0.02 | mg/L | Copper (Cu) | 0.02 | mg/L | Copper (Cu) | 0.02 | mg/L | Copper (Cu) | 0.02 | mg/L
[33 empty] | Sulfat | - | mg/L | Sulfat | - | mg/L | Sulfat | - | mg/L | Sulfat | - | mg/L | Sulfat | - | mg/L | Sulfat | - | mg/L | Sulfat | - | mg/L | Sulfat | - | mg/L | Sulfat | 0.2 | mg/L | Sulfat | 0.2 | mg/L | Sulfat | 0.2 | mg/L | Sulfat | 0.2 | mg/L
MIKROBIOLOGI | [8 empty] | MIKROBIOLOGI | [11 empty] | Sulfide (H₂S) | 0.002 | mg/L | Sulfide (H₂S) | 0.002 | mg/L | Sulfide (H₂S) | 0.002 | mg/L | Sulfide (H₂S) | 0.002 | mg/L | MIKROBIOLOGI | [11 empty] | MIKROBIOLOGI | [11 empty] | MIKROBIOLOGI
Fecal Coliform | 1000 | Jml/10 0ml | 1000 | Jml/10 0ml | 1000 | Jml/10 0ml | 1000 | Jml/10 0ml | Fecal Coliform | 2000 | mg/L | Fecal Coliform | 2000 | mg/L | Fecal Coliform | 2000 | mg/L | Fecal Coliform | 2000 | mg/L | Nitrate (NO₃) | 10 | mg/L | Nitrate (NO₃) | 10 | mg/L | Nitrate (NO₃) | 10 | mg/L | Nitrate (NO₃) | 10 | mg/L | Fecal Coliform | 1000 | mg/L | Fecal Coliform | 1000 | mg/L | Fecal Coliform | 1000 | mg/L | Fecal Coliform | 1000 | mg/L | Fecal Coliform | 1000 | mg/L | Fecal Coliform | 1000 | mg/L | Fecal Coliform | 1000 | Jml/100 ml | Fecal Coliform | 1000 | Jml/100 ml | Fecal Coliform | 1000 | mg/L | Fecal Coliform | 1000 | mg/L | Fecal Coliform | 1000 | mg/L | Fecal Coliform | 1000 | mg/L
Total Coliform | 5000 | Jml/10 0ml | 5000 | Jml/10 0ml | 5000 | Jml/10 0ml | 5000 | Jml/10 0ml | Total Coliform | 10000 | m3/dtk | Total Coliform | 10000 | m3/dtk | Total Coliform | 10000 | m3/dtk | Total Coliform | 10000 | m3/dtk | DO | 6 | mg/L | DO | 6 | mg/L | DO | 6 | mg/L | DO | 6 | mg/L | Total Coliform | 5000 | mg/L | Total Coliform | 5000 | mg/L | Total Coliform | 5000 | mg/L | Total Coliform | 5000 | mg/L | Total Coliform | 5000 | mg/L | Total Coliform | 5000 | mg/L | Total Coliform | 5000 | Jml/100 ml | Total Coliform | 5000 | Jml/100 ml | Total Coliform | 5000 | mg/L | Total Coliform | 5000 | mg/L | Total Coliform | 5000 | mg/L | Total Coliform | 5000 | mg/L
KIMIA ORGANIK | [8 empty] | KIMIA ORGANIK | [11 empty] | Phenol | 1 | mg/L | Phenol | 1 | mg/L | Phenol | 1 | mg/L | Phenol | 1 | mg/L | KIMIA ORGANIK | [11 empty] | KIMIA ORGANIK | [11 empty] | KIMIA ORGANIK
Minyak dan Lemak | 1000 | pg/L | 1000 | pg/L | 1000 | pg/L | 1000 | pg/L | Oil & Fat | 1000 | mg/L | Oil & Fat | 1000 | mg/L | Oil & Fat | 1000 | mg/L | Oil & Fat | 1000 | mg/L | Total Phosphate (PO₄₋) | 0.2 | mg/L | Total Phosphate (PO₄₋) | 0.2 | mg/L | Total Phosphate (PO₄₋) | 0.2 | mg/L | Total Phosphate (PO₄₋) | 0.2 | mg/L | Minyak dan Lemak | 1 | mg/L | Minyak dan Lemak | 1 | mg/L | Minyak dan Lemak | 1 | mg/L | Minyak dan Lemak | 1 | mg/L | Minyak dan Lemak | 1 | mg/L | Minyak dan Lemak | 1 | mg/L | Minyak dan Lemak | 1 | mg/L | Minyak dan Lemak | 1 | mg/L | Minyak dan Lemak | 1 | mg/L | Minyak dan Lemak | 1 | mg/L | Minyak dan Lemak | 1 | mg/L | Minyak dan Lemak | 1 | mg/L
Detergent sebagai MBAS** | 200 | pg/L | 200 | pg/L | 200 | pg/L | 200 | pg/L | Detergent (MBAS) | 200 | mg/L | Detergent (MBAS) | 200 | mg/L | Detergent (MBAS) | 200 | mg/L | Detergent (MBAS) | 200 | mg/L | Free Chlorine (Cl₂) | 0.03 | mg/L | Free Chlorine (Cl₂) | 0.03 | mg/L | Free Chlorine (Cl₂) | 0.03 | mg/L | Free Chlorine (Cl₂) | 0.03 | mg/L | Detergent | 0.2 | mg/L | Detergent | 0.2 | mg/L | Detergent | 0.2 | mg/L | Detergent | 0.2 | mg/L | Detergent | 0.2 | mg/L | Detergent | 0.2 | mg/L | Detergent | 0.2 | mg/L | Detergent | 0.2 | mg/L | Detergent | 0.2 | mg/L | Detergent | 0.2 | mg/L | Detergent | 0.2 | mg/L | Detergent | 0.2 | mg/L
Fenol | 1 | pg/L | 1 | pg/L | 1 | pg/L | 1 | pg/L | Phenol | 1 | mg/L | Phenol | 1 | mg/L | Phenol | 1 | mg/L | Phenol | 1 | mg/L | Microbiology |  | mg/L | Microbiology |  | mg/L | Microbiology |  | mg/L | Microbiology |  | mg/L | Fenol | 0.001 | mg/L | Fenol | 0.001 | mg/L | Fenol | 0.001 | mg/L | Fenol | 0.001 | mg/L | Fenol | 0.001 | mg/L | Fenol | 0.001 | mg/L | Fenol | 0.001 | mg/L | Fenol | 0.001 | mg/L | Fenol | 0.001 | mg/L | Fenol | 0.001 | mg/L | Fenol | 0.001 | mg/L | Fenol | 0.001 | mg/L
[21 empty] | Fecal Coliform | 2000 | mg/L | Fecal Coliform | 2000 | mg/L | Fecal Coliform | 2000 | mg/L | Fecal Coliform | 2000 | mg/L
[21 empty] | Total Coliform | 10000 | m3/dtk | Total Coliform | 10000 | m3/dtk | Total Coliform | 10000 | m3/dtk | Total Coliform | 10000 | m3/dtk

## SungaiSitu
|  | 2014 | 2013 | 2012 | 2011 | 2010
SUNGAI | [6 empty] | SITU | 2014 | 2013 | 2012 | 2011 | 2010
Ciliwung | Hulu | Dam Katulampa |  |  |  |  | Situ Gede | Inlet
| Tengah | Jembatan Sempur | [5 empty] | Outlet | Jl. Tambakan Pos Yandu
| Hilir | Villa Bogor Indah |  |  | Pasir Bambu |  | Situ Panjang | Inlet
Cibalok | Hulu | Jembatan Tol Ciawi | [5 empty] | Outlet | Terusan Kampus Darmaga
| Tengah | PT. Boehringer |  |  |  |  | Situ Anggalena | Inlet
| Hilir | Jembatan Empang | [5 empty] | Outlet
Ciparigi | Hulu | Bogor Lake Side
| Tengah | Jl. Raya Bangbarung Masjid
| Hilir | Jembatan Jl. Neglasari II
Ciluar | Hulu | Bogor Side Jl. Bina Marga |  | jembatan Like Side Jl. Bina Marga
| Tengah | Pangkalan Odong2 Tanah Baru
| Hilir | Asrama Kopem
Cisadane | Hulu | Perumahan Rancamaya
| Tengah | Jembatan Cipaku
| Hilir | Jembatan Gn. Batu
Cisadane Brng | Hulu | Perum. Goodyear
| Tengah | Jembatan laladon
| Hilir | Situ Gede BMKG | Bengkel Las
Cipakancilan | Hulu | Dam Empang
| Tengah | Pabrik Es Petojo | Pabrik Es Ciwaringin
| Hilir | Kp. Cibuluh
Cianten | Hulu |  | Pesantren Al Falah, Yonif 513
| Tengah |  | Sindang Barang Pilar
| Hilir |  | Kp. Cifor
Cidepit | Hulu |  | Pasar Devris Jembatan
| Tengah |  | Lapangan Golf, Jl. Sumeru
| Hilir |  | PT. Kertas Bogor Cahaya, Gg. Mandor

## PrameterSumur
| Parameter | Satuan
1 | Bau | - | Tidak berbau
2 | Jumlah Zat padat terlarut (TDS)** | mg/L | 1000
3 | Kekeruhan** | Skala NTU | 5
4 | Rasa | - | Tidak berasa
5 | Suhu** | ⁰C | Suhu udara 3⁰C
6 | Warna** | Skala TCU | 15
1 | Besi (Fe)** | mg/L | 1
2 | Fluorida (F)** | mg/L | 1.5
3 | Kadmium (Cd)** | mg/L | 0.005
4 | Kesadahan (CaCO3) | mg/L | 500
5 | Khlorida (Cl)** | mg/L | 600
6 | Kromium, valensi 6 (Cr⁶⁺)** | mg/L | 0.05
7 | Mangan (Mn)** | mg/L | 0.5
8 | Nitrat, sebagai N** | mg/L | 10
9 | Nitrit, sebagai N** | mg/L | 0.1
10 | pH** | - | 6,5 - 8,5
11 | Seng (Zn)** | mg/L | 15
12 | Sianida (CN) | mg/L | 0.1
13 | Sulfat (SO₄)** | mg/L | 400
14 | Timbal (Pb)** | mg/L | 0.05
15 | Detergen (MBAS)** | mg/L | 0.5
16 | Zat Organik (KMnO₄)** | mg/L | 10
1 | Total Coliform (MPN)** | Jml/100 ml | Bukan air perpipaan (50)
Air perpipaan (10)
2 | Koliform tinja** | Jml/100 ml | 0